Suggested Specifications For Onyx

Series DHA Manually Operated Pinch Valves

Manual pinch valves shall be of full castmetal body mechanical pinch type with integral flanges on body and flexible sleeve. Valve shall be full round, capable of passing a sphere equal to the diameter of the mating pipe.  All internal parts are to be isolated from the process fluid by the flexible rubber sleeve.  Installed face-to-face length of the valve shall match standard gate valves per ANSI B-16.10 in sizes up to and including 6”; larger valve shall have an installed length equal to twice nominal bore size.

Valve housing shall be cast iron ASTM #A-126 CL-35, with flanges drilled to ANSI B16.1 Class 125 standard.  Flanges shall have through holes and shall accommodate a standard hex nut per ANSI B18.2.2; tapped flanges are not acceptable.  All bolts used in valve assembly shall be ASTM A 108 grade B5, zinc plated, 80,000 psi min yield / 100,000 psi min tensile strength.  Valve shall be painted per Steel Structures Painting Council Standard #SSPC-SP1-G3 with (2) coats of black interior/exterior Alkyd Enamel to a total thickness of 5 mils minimum.

The rubber sleeve shall be compression molded to insure consistent wall thickness and de-lamination resistance.  Rubber sleeve shall be reinforced with polyester fabric or nylon cords. The rubber sleeve shall be provided with Positive Opening Tabs to insure full opening after the valve has been closed for extended periods of time; tabs shall be fastened directly to the pinch bars with bolts and nuts.

Hand wheel closing mechanism shall be double-acting, and shall pinch the rubber sleeve closed on center line.  The inner and outer stems shall be carbon steel (303 stainless and bronze optional). Valve pinch bars and yoke shall be carbon steel, connected by carbon steel tie rods.  Pinch bars shall be attached to the tie rods with removable nuts to facilitate sleeve replacement.  Mechanisms where the pinch bars and yoke are permanently welded to the tie rods are not acceptable.

Stem and wheel shall be non-rising.  Valve position shall be indicated by a rod projecting from the stem through the hand wheel.  Valve shall be designed so that the required one-hand rim pull does not exceed 80 lbf at max rated pressure.

Valves shall be Onyx series DHA or approved equal.